STATE OF OKLAHOMA

OFFICE OF THE STATE FIRE MARSHAL

Building Plan Review Submittal Requirements

The following is a list of requirements for all plan submittals. Any information that is not provided may result in the plans being rejected and returned without review.

EACH SEPARATE BUILDING MUST BE PERMITTED SEPARATELY.

EACH SAFE ROOM/STORM SHELTER MUST BE PERMITTED SEPARATELY.  BUILDINGS WITH A SAFE ROOM/STORM SHELTER WITHIN A BUILDING MUST BE PERMITTED SEPARATELY.

A PHASED PROJECT MUST BE PERMITTED SEPARATELY.

A PROJECT WITH A REMODEL AND NEW CONSTRUCTION MUST BE ACCOMPANIED BY A NEW BUILDING APPLICATION AND AN EXISTING BUILDING APPLICATION.

Transmittal

- Completed Transmittal Form with all fields filled-in.

- Name of the project.

- Physical street address, city, county and zip code.

- Type of Construction – IA, IB, IIA, IIB, IIIA, IIIB, IV, VA, VB (Verify Table 601 is applied to IA, IB, IIA, IIA, IIIB, IV, VA)

- Use and Occupancy Classification –

- Assembly Group A. A-1, A-2, A-3, A-4, A-5

- Business Group B.

- Educational Group E.

- Factory Group F. F-1, F-2

- High –Hazard Group H. H-1, H-2, H-3, H-4, H-5

- Institutional Group I. I-1, I-2, I-3,

- Mercantile Group M.

- Residential Group R. R-1, R-2, R-3, R-4

- Storage Group S. S-1, S-2

- Utility and Miscellaneous Group U

- Total Square Foot including all floors and roof overhangs (covered patios, decks, balconies) New and Existing (if applies)

- Occupant Load. New and Existing (if applies)

- Number of Stories

- Architect, Designers, Professional Engineer stamp, signature, license # and contact information (Wet or Dry Stamp with signature) (Refer to the State Architectural Act for the occupancies requiring a licensed Oklahoma architect and the State Engineering Act for occupancies requiring a licensed Engineer)

- New Construction or Remodel Project with Scope of Work Letter

- Plan Review fee payment or PO issued

Code Sheet

- Code sheet identifying:

- The list of adopted codes and its year used for the building design

- Occupancy type

- Special use and occupancy requirements (IBC Chapter 4 and IFC)

- Total square footage.  New and Existing (if applicable)

- Actual and Allowable building heights and areas

- Frontage increase applied. Provide calculations

- Fire sprinkler increase applied. What percentage? Provide calculations

- Unlimited area building (if applicable)

- Type of construction. New and Existing (if applicable)

- Fire and smoke protection features installed

- Interior finishes classification

- Fire protection systems being installed

- Occupant load New and Existing (if applicable)

- Occupant load per room including occupant load factor and square footage per room

- Occupant load per exit door including occupant load factor. New and Existing (if applicable).

- Travel distance

- Corridor ratings

- Accessibility requirements met

- Roof assembly construction and rating

- Elevator installed-electric or hydraulic

- Directives applied if any from OSFM website.  Identify which will be applied

- Alternatives accepted?  Specifically identify

- Fire walls, ratings, and UL Design (Provide  copy of UL documents)

- Fire barriers and ratings

- Fire partitions and ratings

- Fire Doors, ratings, and UL Design (Provide  copy of UL documents)

- Fire Windows, ratings, and UL Design (Provide copy of UL documents)

- Identify any deficiencies.  Provide a plan of action, from the architect, to fix any problems identified during initial design (1 week)

- Identify all Oklahoma Uniform Building Code Commission changes to the current adopted building codes that have been applied during the design of this project

Site Plan

- Site Plan showing the location of all surrounding buildings, fire department access roads and fire hydrants.

- Identify the New and Existing (if applicable) Building areas

- Identify in feet the distance between all buildings

- Identify all buildings within 30’of the primary building

- Identify all lot lines indicating the private property side and public property side

- All fire department access roads must be at least 20’ wide.

- Identify with a line and a distance in feet showing all hard surfaces used by fire apparatus within 150’ of all sides of the building.  This distanced is as the hose is pulled off a truck on a hard surface and not as the crow flies.

- Identify all fire hydrants as new or existing

- All new fire hydrants must be installed within the Public Easement. A fire hydrant is required to be installed within 400’ of a non-sprinklered building and 600’ of a sprinklered building.  The new fire hydrants are measured as the hose lays off the back of the fire truck on a hard surface and not as the crow flies.

- Identify with a line and a distance in feet showing the travel of a fire apparatus from the fire hydrant to all sides off the building as the hose lays off the back of the fire truck on a hard surface and not as the crow flies.  (400’ for non-sprinklered buildings and 600’ for sprinklered buildings)

- Identify all designated fire department access lanes

Demolition Plan for All Existing Buildings

- Building Layout:

- Entire building layout

- Dashed lines showing all walls being demolished

- Dashed lines showing all doors being demolished

- Details identifying the scope of work being done

- Identify any fire walls being affected

- Identify any fire barriers being affected

- Identify any fire partitions being affected

Life Safety Plan

- Life Safety Plan:

- Entire building layout.  New and Existing (if applicable)

- Occupant travel distance in feet

- The location of all fire walls and its rating.  Provide the UL design cut sheet

- The location of all fire barriers and its rating

- The location of all fire partitions and its rating

- The location of all draft stopping

- The location of all fire extinguishers with the associated travel distance

- The location of all load bearing walls and its rating

- Location of all rated doors, ratings, and door swing

- Location of all rated windows and its rating

- Location of all Rescue Windows

- Occupant load per room including the occupant load factor and square footage per room

- Occupants per exit door and its occupant load factor.  New and Existing (if applicable)

- Dead end corridors

Building Layout

- Building Layout Plan:

- Fire Dampers

- Smoke Dampers

- Location of all Fuel Burning Appliance-Fuel Burning Fireplace-Fuel Burning Forced Air Furnace locations with ducting

- Emergency lights

- Exit signs

Building Elevation

- Building Elevation Plan:

- Building Height

- Floor Elevations

- Roof Slope

- Dead loads within 10’ of the roof edge must have guards

Plans

- An Architect/Engineer’s or sub-contractor written statement concerning the foundation on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, dated, signed, and stamped.

- An Architect/Engineer’s or sub-contractor written statement concerning the structural on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, dated, signed, and stamped.

- An Architect/Engineer’s or sub-contractor written statement concerning the mechanical on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, dated, signed, and stamped.

- An Architect/Engineer’s or sub-contractor written statement concerning the electrical on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, dated, signed, and stamped.

- An Architect/Engineer’s or sub-contractor written statement concerning the plumbing on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, dated, signed, and stamped.

- Energy Conservation requirements omitted by the OUBCC.

- An Architect/Engineer’s or sub-contractor written statement concerning the safe room on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, dated, signed, and stamped.

- Two (2) sets of (paper) plans, signed and stamped by architect, designer or professional engineer. Include limited architectural sheets, mechanical sheets if fire and smoke dampers are installed and/or the location of all Fuel Burning Appliance-Fuel Burning Fireplace-Fuel Burning Forced Air Furnace locations with ducting, and electrical sheets showing all emergency light and exit sign drawings.

- A Contractors Responsibility written statement is required for all FEMA and ICC-500 Tornado/Storm Shelters.

Specifications

- One (1) CD containing all drawings and specifications.  Hard copies will not be accepted

Field Inspection-Rough In

- Provide a binder with the approved Life Safety Plans: approved Life Safety Comments: colored Permit: all Architect/Engineer letters concerning deigns of the Foundation, Structural, Mechanical, Electrical, and Plumbing being code compliant; All Contractors Responsibility statements concerning the Rough-In of the Foundation, Structural, Mechanical, Electrical, and Plumbing being code compliant; Fire Doors, ratings, and UL Design (Provide  copy of UL documents); Fire Windows, ratings, and UL Design (Provide copy of UL documents); and any changes to the project affecting the Life Safety aspects of the project.

- A Contractors Responsibility statement concerning the foundation final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, date, and signed.

- An Contractors Responsibility statement concerning the structural final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, date, and signed.

- An Contractors Responsibility statement concerning the mechanical final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county date, and signed.

- An Contractors Responsibility statement concerning the electrical final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, date, and signed.

- An Contractors Responsibility statement concerning the plumbing final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, date, and signed.

- Energy Conservation requirements omitted by the OUBCC.

Field Inspection-50% Life Safety

- Provide a binder, on site for review by the Oklahoma State Fire Marshal’s Agent, with the red stamped approved Life Safety Plans: approved Life Safety Comments: colored Permit: Fire Doors, ratings, and UL Design (Provide  copy of UL documents); Fire Windows, ratings, and UL Design (Provide copy of UL documents); and any changes to the project affecting the Life Safety aspects of the project.

- Sheet rock on one side of all walls, but no door jambs

- No ceilings

- Label rated walls by permanent stencil

- Fire extinguisher cut out provided

- Fire sprinkler rough in

- Fire alarm rough in

Field Inspections-Final

- Provide a binder, on site for review by the Oklahoma State Fire Marshal’s Agent, with the red stamped approved Life Safety Plans: approved Life Safety Comments: colored Permit: all Architect/Engineer letters concerning deigns of the Foundation, Structural, Mechanical, Electrical, and Plumbing being code compliant; All Contractors Responsibility statements concerning the Rough-In of the Foundation, Structural, Mechanical, Electrical, and Plumbing being code compliant; Fire Doors, ratings, and UL Design (Provide  copy of UL documents); Fire Windows, ratings, and UL Design (Provide copy of UL documents); and any changes to the project affecting the Life Safety aspects of the project.

- An Contractors Responsibility statement concerning the foundation final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, date, and signed.

- An Contractors Responsibility statement concerning the structural final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, date, and signed.

- An Contractors Responsibility statement concerning the mechanical final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, date, and signed.

- An Contractors Responsibility statement concerning the electrical final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, date, and signed.

- An Contractors Responsibility statement concerning the plumbing final inspection on letterhead identifying code compliance with all the applicable codes in relation to the specific being built.  The letter must identify the project name address, county, date, and signed.

- Energy Conservation requirements omitted by the OUBCC.

- A copy of the elevator permit from the Department of Labor

- Rated doors, glass, and jambs installed

- Rescue windows installed

- Draft stopping with access doors installed

- Emergency lights installed and operational

- Exit signs installed operational

- Fire damper access panels

- Smoke damper access panels

- Fire extinguishers installed and tagged by an Oklahoma Licensed company

- Fire alarm system installed, tested, and operational.  Fire alarm breaker shut off for 24 hours prior to the actual test.  Duct detectors installed, tested, and operational with remote test switches (labeled accordingly).  Must be tested with smoke.  Fire alarm room signage.  Breaker identified in red.  Monitoring agreement

- Carbon monoxide system installed, tested, and operational.  Must be tested with test canister.  Carbon monoxide room signage.   A remote annunciator within 10’ of the main entrance

- Fire sprinkler system installed, tested, and operational.  Fire sprinkler room signage.  FDC approval letter.  Hydrostatic test documentation.  Underground flush papers

- Hood suppression system installed, tested, and operational; balloon test, and caps cleaned after test.

- Fire hydrants installed (400’ for non-sprinklered buildings and 600’ for sprinklered buildings)

- Fire lanes identified

- Elevator inspection report

- It is the responsibility of the General Contractor/Superintendant to submit the completed binder to the Oklahoma State Fire Marshal’s office.  The binder must be submitted to the Oklahoma State Fire Marshal’s office before the Certificate of Occupancy or the Inspection Report will be issued.