| TEMPORARY CLOSURE OF PETROLEUM STORAGE TANKS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OKLAHOMA CORPORATION COMMISSION PETROLEUM STORAGE TANK DIVISION P.O. Box 52000 Oklahoma City, OK 73152-2000 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Facility Number: |  |  |  |  |  |  |  | STATE USE ONLY |  |  |  |  |  |  |
| Total No. of Tanks at Facility: |  |  |  |  |  |  |  | DATE RECEIVED: |  |  |  |  |  |  |
| Number of UST’s at Facility: |  |  |  |  |  |  |  | A. Date entered into computer: |  |  |  |  |  |  |
| Number of AST’s at Facility: |  |  |  |  |  |  |  | B. Data entry clerk initials: |  |  |  |  |  |  |
| GENERAL INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Storage tanks containing antifreeze, motor oil, motor fuel, gasoline, kerosene, diesel or aviation fuel are regulated by the Oklahoma Corporation Commission's Petroleum Storage Tank Division. Underground petroleum storage tanks with capacity over 110 gallons must be registered, except for residential and non-commercial agricultural tanks with capacity of less than 1,100 gallons. Aboveground petroleum storage tanks with capacity over 110 gallons must be registered, except for farm and ranch tanks, emergency generator tanks, or tanks at fleet and commercial facilities less than 2,100 gallons individual storage capacity. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I. OWNERSHIP OF TANK (S) – NEW OWNER |  |  |  |  |  |  |  | II. LOCATION OF TANK (S) |  |  |  |  |  |  |
|  | Owner Name (Corporation, Individual, Public Agency) |  |  |  |  |  |  |  |  | Facility Name or Company Site Identifier, as applicable |  |  |  |  |
|  | Mailing Address |  |  |  |  |  |  |  |  | Physical Address (PO Box NOT acceptable) |  |  |  |  |
|  | City & State |  |  | Zip Code |  |  |  |  |  | City & State |  |  | Zip Code |  |
|  | ( ) |  |  | ( ) |  |  |  |  |  |  |  | ( ) |  |  |
|  | Phone Number |  |  | Mobile Number |  |  |  |  |  | County |  | Facility Phone Number |  |  |
|  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fax Number |  |  | E-mail Address |  |  |  |  |  | Contact Person & Title |  |  |  |  |
|  | III. TANKS TEMPORARILY CLOSING |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Tank ID; Tank Serial No.; Tank Capacity (Gals.); Product Last Stored; Date Last Used. |
| TEMPORARY CLOSED (TOU) |  | - Temporary closed tanks must comply with OAC 165:25-2-133 & OAC 165:25-2-134 - Operator training must be maintained |  |  |  |  |  |  |  |  |  |  |  |  |
| REQUIRED ATTACHMENTS |  | - All tanks must be drained. (no more than 1 inch (1") of residue remains in the tank) - All vent lines must be left open and functioning - All other lines, pumps, manways, and ancillary equipment must be capped and secured - If applicable, provide corrosion protection recertification |  |  |  |  |  |  |  |  |  |  |  |  |
| IV. CERTIFICATION (Read and sign after completing all sections) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I certify under penalty of law that I have personally examined and am familiar with the information submitted in this and all attached documents, and that I believe that the submitted information is true, accurate, and complete. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (Print) Owner or authorized representative |  |  |  |  |  |  |  |  |  |  | Title |  |  |  |
| X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature |  |  |  |  |  |  |  |  |  |  | Date |  |  |  |