EQUIPMENT COMPATIBILITY CHECKLIST FOR PETROLEUM STORAGE TANK SYSTEMS

OKLAHOMA CORPORATION COMMISSION PETROLEUM STORAGE TANK DIVISION P.O. Box 52000 Oklahoma City, OK 73152-2000

This form is to be completed and signed by the storage tank owner (or owner’s representative) and Oklahoma Corporation Commission, Petroleum Storage Tank Division licensed tank installer when installing a new storage tank system, or when converting an existing storage tank system, for storage of regulated substances that contain greater than ten percent (10%) ethanol or regulated substances that contain greater than twenty percent (20%) biodiesel.

In order to be in compliance with the UST/AST compatibility requirements for storing alternative fuel blends and biofuels, you must keep documentation of compatibility of the UST/AST system components listed on this page as long as you store the fuel.

| - OWNER INFORMATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Owner Name: |  |  |  |  |  |
| Mailing Address: |  |  |  |  |  |
| City & State: |  | County: |  |  |  |
| Zip: |  | Phone Number: |  |  |  |
| - FACILITY INFORMATION |  |  |  |  |  |
| Facility Name: |  |  |  | Facility ID: |  |
| Physical Address: |  |  |  |  |  |
| City & State: |  | County: |  |  |  |
| Zip: |  | Facility Phone: |  |  |  |
| Sections III through V should be completed in full by the storage tank system owner and Oklahoma Corporation Commission, Petroleum Storage Tank Division licensed tank installer. Provide the equipment manufacturer and model numbers for each component listed. Write N/A and check the corresponding box if the tank/piping/dispenser does not have the component. Check the appropriate boxes to indicate whether the component has been confirmed by a Nationally Recognized Testing Laboratory (NRTL) and/or has been verified by the component manufacturer for use of the substance stored. Only check “No” if the component is neither NRTL listed nor manufacturer verified. If “No” is checked, provide an explanation found at the end of the form. Only one storage tank system per form may be listed. Attach all supporting documentation along with this checklist. Each component must have documentation proving compatibility. Any incomplete form will be rejected. |  |  |  |  |  |
| - TANK INFORMATION |  |  |  |  |  |
| Tank Type: Underground Aboveground Tank ID: Tank Capacity: |  | Alternative Fuel Blend (>10%) Stored E15 E85 Other: Biodiesel Blend (>20% biodiesel) Stored B20 B99 Other: |  |  |  |
| Component | Equipment Manufacturer | Model Number |  |  | NRTL Listed or Manufacturer Verified for the Stored Fuel |
| Storage Tank |  |  |  |  | Listed Verified No N/A |
| ATG Probe, Float/Sensor |  |  |  |  | Listed Verified No N/A |
| Tank Interstitial Sensor |  |  |  |  | Listed Verified No N/A |
| Spill Bucket |  |  |  |  | Listed Verified No N/A |
| Drop Tube |  |  |  |  | Listed Verified No N/A |
| Overfill Auto Shut-off Valve |  |  |  |  | Listed Verified No N/A |
| Ball Float Valve |  |  |  |  | Listed Verified No N/A |
| - PIPING INFORMATION |  |  |  |  |  |
| Component | Equipment Manufacturer | Model Number |  |  | NRTL Listed or Manufacturer Verified for the Stored Fuel |
| Product Pipe |  |  |  |  | Listed Verified No N/A |
| Valve Material |  |  |  |  | Listed Verified No N/A |
| Pipe Sealant/Adhesive |  |  |  |  | Listed Verified No N/A |
| Gaskets/ Seals |  |  |  |  | Listed Verified No N/A |
| Flex Connector/ Swing Joint |  |  |  |  | Listed Verified No N/A |
| Submersible Turbine Pump |  |  |  |  | Listed Verified No N/A |
| Mechanic Line Leak Detector |  |  |  |  | Listed Verified No N/A |
| Electronic Line Leak Detector |  |  |  |  | Listed Verified No N/A |
| STP Sump |  |  |  |  | Listed Verified No N/A |
| STP Sump Sensor |  |  |  |  | Listed Verified No N/A |
| Sump Penetration Fittings |  |  |  |  | Listed Verified No N/A |
| Transition Sump |  |  |  |  | Listed Verified No N/A |
| Transitions Sump Sensor |  |  |  |  | Listed Verified No N/A |
| - DISPENSER INFORMATION – If needed, attach an additional copy of this page for each additional dispenser unit installed. |  |  |  |  |  |
| Dispenser Number: Dedicated Dispenser Hose: Yes No Blending Dispenser: Yes No |  |  |  |  |  |
| Component | Equipment Manufacturer | Model Number |  |  | NRTL Listed or Manufacturer Verified for the Stored Fuel |
| Dispenser |  |  |  |  | Listed Verified No N/A |
| Suction Pump |  |  |  |  | Listed Verified No N/A |
| Dispenser Sump |  |  |  |  | Listed Verified No N/A |
| Dispenser Sump Sensor |  |  |  |  | Listed Verified No N/A |
| Sump Penetration Fittings |  |  |  |  | Listed Verified No N/A |
| Flex Connector |  |  |  |  | Listed Verified No N/A |
| Emergency (Shear) Valve |  |  |  |  | Listed Verified No N/A |
| Gaskets/Seals |  |  |  |  | Listed Verified No N/A |
| Blending Valve |  |  |  |  | Listed Verified No N/A |
| Check Valve |  |  |  |  | Listed Verified No N/A |
| Meter |  |  |  |  | Listed Verified No N/A |
| Fuel Filters |  |  |  |  | Listed Verified No N/A |
| Break Away Device |  |  |  |  | Listed Verified No N/A |
| Nozzle(s) |  |  |  |  | Listed Verified No N/A |
| Swivel(s) |  |  |  |  | Listed Verified No N/A |
| Hose(s) |  |  |  |  | Listed Verified No N/A |
| If any box is checked “No”, provide an explanation. PSTD will determine if this option is no less protective of human health and the environment. _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ _____________________________________________________________________________________________________________ |  |  |  |  |  |
| - CERTIFICATION (Read and sign after completing all sections) |  |  |  |  |  |
| I certify under penalty of law that I have personally examined and am familiar with the information submitted on this form and all attached documents, and that I believe that the submitted information is true, accurate and complete. |  |  |  |  |  |
| (Print) Name of Licensed Tank Installer |  |  | License Number |  |  |
| X |  |  |  |  |  |
| Signature |  |  | Date |  |  |
| (Print) Owner/Representative Name |  |  | Title |  |  |
| X |  |  |  |  |  |
| Signature |  |  | Date |  |  |

Oklahoma Corporation Commission

Petroleum Storage Tank Division

P.O. Box 52000

Oklahoma City, OK 73152-2000

STATEMENT OF COMPATIBILITY

Oklahoma Corporation Commission, Petroleum Storage Tank Division regulations require that all regulated underground and aboveground storage tank systems be compatible with the product stored in them. Anyone storing regulated substances that contain greater than ten percent (10%) ethanol or regulated substances that contain greater than twenty percent (20%) biodiesel must certify that all components of their tank system are compatible with the product stored.

Complete the information below and the attached checklist along with supporting documentation and submit along with any tank registration where the tank(s) contain fuel types that require system compatibility.

Facility Number:

Facility Name:

Facility Address:

City & State:

Zip:

Number of tanks storing alternative fuel blends or biodiesel blends:

I, _______________________________________________, do hereby attest that I have researched all the various components of the storage tank system(s) at the above noted facility which are currently, or will be storing alternative fuel blends and/or biodiesel blends and certify that all components are compatible with the stored fuel type. I certify under penalty of law that this document and all attachments were prepared by me, or under my direction or supervision. The submitted information is to the best of my knowledge and I believe that all submitted information is true, accurate and complete.

| (Print) Owner/Representative Name | Title |
| --- | --- |
| X |  |
| Signature | Date |