# OKLAHOMA CORPORATION COMMISSION – PETROLEUM STORAGE TANK DIVISION P. O. Box 52000, Oklahoma City, OK 73152-2000 (405) 521-4683

# HYDROSTATIC LINE TIGHTNESS TEST

## DATE OF TEST				FACILITY NAME						OCC FACILITY I. D. NO

TYPE PUMPING SYSTEM     CHECK ()

FACILITY ADDRESS			CITY/ZIP					    □    Pressurized	        □    Suction

###### PRODUCT LINE CONSTRUCTION: CHECK ()

###### □ Steel with Cathodic Protection   □  Fiberglass Single Wall   □  Fiberglass Double Wall  □  Flexible Double Wall  □  Other__________________

TYPE LINE LEAK DETECTOR: CHECK ()  □  Mechanical	     □   Electronic	     TECHNICIAN’S SIGNATURE_____________________________

__________________________________________________	____

TESTING COMPANY NAME			TESTING COMPANY ADDRESS		CITY/STATE/ZIP

_________________________________

TESTING COMPANY PHONE OR EMAIL		TECHNICIAN NAME/CERTIFICATION NO/EXPIRATION DATE

MAKE/MODEL OF TESTING EQUIPMENT		EQUIP SERIAL NUMBER		TECHNICIAN PHONE

TEST EQUIPMENT USED MUST FOLLOW PROTOCOL EVALUATED BY NWGLDE FOR PRODUCT LINE CONSTRUCTION

# LINE TIGHTNESS TEST DATA # PLEASE RECORD MINIMUM ONE HOUR TEST TIME AT 1.5 TIMES OPERATING PRESSURE

| LINE ID (PRODUCT) |  | LINE DIAMETERS & LENGTH |  | # OF NOZZLES |  | # FLEX CONNECT |  | START TEMP(F) |  | END TEMP( F) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TIME-RECORD ONE FULL HOUR OF INTERVALS | PRESSURE (psi) |  |  |  | VOLUME (convert Total Hour to Gal/Hr Measurement) |  |  |  |  |  | 1 HOUR RESULT PASS / FAIL |
|  | ### BEFORE |  | AFTER |  | BEFORE |  | AFTER |  | NET CHANGE |  |  |

Revised June 2013			TEST WILL BE RETURNED IF FORM IS INCOMPLETE					PAGE 1

DATE OF TEST:			 FACILITY NAME:                                                          		OCC FACILITY ID NO:

| LINE ID (PRODUCT) |  | LINE DIAMETERS & LENGTH |  | # OF NOZZLES |  | # FLEX CONNECT |  | START TEMP(F) |  | END TEMP( F) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TIME-RECORD ONE FULL HOUR OF INTERVALS | PRESSURE (psi) |  |  |  | VOLUME (convert Total Hour to Gal/Hr Measurement) |  |  |  |  | 1 HOUR RESULT PASS / FAIL |
|  | ### BEFORE |  | AFTER |  | BEFORE |  | AFTER |  | NET CHANGE |  |

| LINE ID (PRODUCT) |  | LINE DIAMETERS & LENGTH |  | # OF NOZZLES |  | # FLEX CONNECT |  | START TEMP ( F) |  | END TEMP( F) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| LINE ID (PRODUCT) |  | LINE DIAMETERS & LENGTH |  | # OF NOZZLES |  | # FLEX CONNECT |  | START TEMP ( F) |  | END TEMP( F) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Revised June 2013			TEST WILL BE RETURNED IF FORM IS INCOMPLETE					PAGE 2